## Slide 1
1
Chapter 8 (DC)
Methods of Analysis
And Selected Topics

## Slide 2
2
8.9 NODAL ANALYSIS
Steps of Nodal Analysis:
Convert voltage sources to current sources.
Determine the number of nodes within the network.
2. Pick a reference node, and label each remaining node with a subscripted value
of voltage: V1, V2, and so on.
3. Apply Kirchhoff’s current law (KCL) at each node except the reference. Assume that:
(a) all unknown currents leave the node for each application of Kirchhoff’s
current law (KCL).
(b) Each node is to be treated as a separate entity, independent of the
application of KCL to the other nodes.
4. Solve the resulting equations for the nodal voltages.

## Slide 3
3
Developed Nodal Equations for the Following Circuit:
Step 1: Convert voltage sources to current sources.
Here:

## Slide 4
4
Step 2 and Step 3:
V1
V2
V3 = 0 V
Consider node V1:
Consider node 3 as a reference i.e.
V3 = 0 V
Assume all unknown currents leave the node
IZ2
IZ1
IZ3
Write the Nodal Equation by Applying Kirchhoff’s current law (KCL):

## Slide 5
5
Consider node V2:
Assume all unknown currents leave the node
IZ5
IZ4
IZ3
Write the Nodal Equation by Applying Kirchhoff’s current law (KCL):
Nodal equations in matrix form as follows:

## Slide 6
6
Write the nodal equations for the following networks.
V1
V2
V3

## Slide 7
7
Example
NODAL ANALYSIS [DC]

## Slide 8
8
Solution: Convert the voltage sources to current sources as shown in Figure (a).
EXAMPLE 8.20 Apply nodal analysis to the network in Fig. 8.49.
(a)
V1
V2
Step 1 and 2: The network has three nodes with the bottom node defined as the reference node (at ground potential, or zero volts), and the other nodes as V1 and V2.
Step 3: For node V1, the currents are defined as shown in the following Figure (b) and Kirchhoff’s current law is applied:
0 V
I2
I1
(b)

## Slide 9
9
For node V2, the currents are defined as shown in the following Figure (c) and Kirchhoff’s current law is applied:
I2
I3
(c)

## Slide 10
10
Step 3: For node V1, the currents are defined as shown in the following Figure (a) and Kirchhoff’s current law is applied:
For node V2, the currents are defined as shown in the following Figure (b) and Kirchhoff’s current law is applied:
(a)
(b)
Step 1 and 2: The network has three nodes with the bottom node defined as the reference node (at ground potential, or zero volts), and the other nodes as V1 and V2.

## Slide 11
11
Here, V1> V1

## Slide 12
12
EXAMPLE 8.24 Find the voltage across the 3  resistor in Fig. 8.61 by nodal analysis.
Solution: First convert two voltage sources to current sources.
V1
V2
Step 1 and 2: The network has three nodes with the bottom node defined as the reference node (at ground potential, or zero volts), and the other nodes as V1 and V2.
Step 3: For node V1, the currents are defined as shown in the following Figure (b) and Kirchhoff’s current law is applied:
For node V2:
Simplified form:

## Slide 13
13
Current of branches:

## Slide 14
14
Write the nodal equations for the following networks.
V1
V2
V1
V2

## Slide 15
15
Write the nodal equations for the following networks.
V1
V2

## Slide 16
16
Write the nodal equations for the following networks.
V3
V2
V1
Practice Book [Ch 8] Problem: 41 ~ 44

## Slide 17
17
8.12 Y (T) and Y (T) CONVERSIONS
Circuit configurations are often encountered in which the resistors do not appear to be in series or parallel. Under these conditions, it may be necessary to convert the circuit from one form to another [i.e. convert from Y/T to / or / to Y/T] to solve for any unknown quantities

## Slide 18
18
c
b
a
Ra
Rb
Rc
a
b
Ra
c
Rb
Rc
Y (Wye)
T (Tee)

## Slide 19
19
 (Delta)
c
b
a
Rab
Rbc
Rca
 (Pai)
c
a
b
c
Rab
Rbc
Rca
a
b
c
Rab
Rbc
Rca

## Slide 20
20
Conversion from Y (T) to  ()
Here, Ra, Rb and Rc are known.
Calculate Rab, Rbc and Rca
For derivation of these equations go through Eq. (8.3a) to (8.4 c)

## Slide 21
21
Conversion from  () to Y (T)
Here, Rab, Rbc and Rca are known.
Calculate Ra, Rb and Rc
For derivation of these equations go through Eq. (8.5a) to (8.5c)

## Slide 22
22
Problem 51(a) [P. 342]. Using a -Y or Y- conversion, find the current I in each of the networks in Fig. 8.134(a).
a
b
c
d
Rcd
Rbd
Rad
R1
R2
Solution: First, marked four nodes (a, b, c, and d) in the circuit.
Let, Rad = 2 , Rbd = 1 , Rcd = 3 , R1 = 2 , and R2 = 4 
Here, Rad, Rbd, and Rcd made Y connection where d is common point. So, this Y connection is going to convert  connection.

## Slide 23
23
a
b
c
R1
R2
2 
4 
Rca
Rbc
Rab
3.67 
5.5 
11 
20 V
+

I

## Slide 24
24
Problem 51(b) [P. 342]. Using a -Y or Y- conversion, find the current I in each of the networks in Fig. 8.134(b).
Solution: First, marked four nodes (a, b, and c) in the circuit.
a
b
c
Let, R1=4.7 k, R2=1.1 k, Rab=Rbc=Rca= 6.8 k
Rca
Rbc
Rab
R1
R2
Here, Rab, Rbc, and Rca made  connection. So, this  connection is going to convert Y connection.
a
b
R2
Rb
1.1 k
2.27 
Ra
R1
4.7 k
2.27 
8 V
+

c
2.27 
Rc
I

## Slide 25
25
Practice Book [Ch 8] Problem: 51 ~ 56

## Slide 26
26
 () to Y (T) Conversion
Y (T) to  () Conversion
Zab, Zbc and Zca are know.
Za, Zb and Zc are know.

## Slide 27
27
Solution:

## Slide 28
28

## Slide 29
29
I
V
Z1
Zab
a
c
b
Zbc
Zca
Z2
Z3
Example: Find the Current I for the following circuit.

## Slide 30
30
Zan
a
c
b
Zcn
Zbn
Z2
Z1
I
V
Z3
I
V
Z4
Z5
Z6
Practice Book [Ch 17] Problem: 32 ~ 33

## Slide 31
31
8.11 BRIDGE NETWORKS
1
2
3
4
1
2
3
4
1
2
3
4

## Slide 32
32
Balanced Bridge Network
If the ratio of R1 to R3 is equal to that of R2 to R4, the bridge is balanced, and I = 0 A or V = 0 V.
If this condition is not satisfied, to solve the bridge circuit use the other techniques.

## Slide 33
33
Example 8.11.1: Find the current I for the following network.
Solution: Here: