## Slide 1
Chapter 16
Series-Parallel Circuits

## Slide 2
2
Solution:
(1) Calculate all reactance if needed.
(2) Identify and mark the nodes/junctions.
c
There are two branches are connected between terminals c and b.
Write the impedances in different branches.
EXAMPLE: Calculate the impedance at terminals a and b for the following electrical network.
Zac = 4 + j3 
Zcb1 = 10  j5 
Zcb2 = 5 + j20  j10 = 5 + j10 
Redraw the circuit showing the impedance.

## Slide 3
3
Zac = 4 + j3 
Zcb1 = 10  j5 
Zcb2 = 5 + j20  j10 = 5 + j10 

## Slide 4
4
Solution:
(1) Identify and mark the nodes/junctions.
c
d
e
f
g
There are two branches are connected between nodes d and e.
Write the impedances in different branches.
Zde1 = 8 + j32 ; Zde2 = 8 + j32 ;
Zef = 8 ; Zdf = 12 + j16 ;
Zgf = 10 ; Zcd =  j16 ;
Zcg = 16  j8 ; Zac = 4 ; Zbg = j12 ;
Redraw the circuit showing the impedance.
EXAMPLE: Calculate the impedance at terminals a and b for the following electrical network.
c
d
e
f
g

## Slide 5
5
Zde1 = 8 + j32 
Zde2 = 8 + j32 
Zef = 8 
Zdf = 12 + j16 
Zgf = 10 
Zcd =  j16 
Zcg = 16  j8 
Zac = 4 
Zbg = j12 

## Slide 6
6
EXAMPLE 16.1: For the network in Fig. 16.1:
(a) Calculate ZT. (b) Determine Is.
(c) Calculate VR, VC and VL. (d) Find the IC and IL.
(e) Compute the power delivered.
(e) Find power factor (Fp) of the network.
Solution:
Fig. 16.1: Example 16.1.
Let, = 1  = 10o; = j2  = 290o; = j3  = 390o;
Fig. 16.1(a)
Fig. 16.1(a) shows the redrawing circuit of Fig. 16.1.
= j6  = 690o
Fig. 16.1(b)
Fig. 16.1(b) shows the redrawing circuit of Fig. 16.1(a).

## Slide 7
7
(c) Referring to Fig. 16.1(b), we have.
(d) Referring to Fig. 16.1(b), we have.

## Slide 8
8
EXAMPLE 16.3: For the network in Fig. 16.5:
(a) Calculate the total impedance ZT and the current Is.
(b) Calculate the voltage VC using the voltage divider rule.
(c) Calculate the currents I1 and I2 using the current divider rule.
(d) Calculate the power consumption by R, the reactive power consumption by L and the reactive power supplied by C.
(e) Calculate the apparent power, the power and the reactive power delivered by source.
Solution:
Let, = 5  = 50o;
= j12 =1290o;
= j8  = 890o;
Fig. 16.5(a) shows the redrawing circuit of Fig. 16.5.
Fig. 16.5: Example 16.3.
Fig. 16.5(a)
= + = 5  j12  = 1367.38o
Fig. 16.5(b) shows the redrawing circuit of Fig. 16.5(a).
Fig. 16.5(b)
= 7.8 + j14.24 
= 16.2461.29o

## Slide 9
9
(b) Calculate the voltage VC using the voltage divider rule.
Referring to Fig. 16.5(a), we have.
(c) Calculate the currents I1 and I2 using the current divider rule.
Referring to Fig. 16.5(b), we have.
(d) Calculate the power consumption by R, the reactive power consumption by L and the reactive power supplied by C.
(e) Calculate the apparent power, the power and the reactive power delivered by source.

## Slide 10
10

## Slide 11
11
Calculate the currents I.
(b) Calculate the voltage V.

## Slide 12
12

## Slide 13
13
(b) Find the currents I1, I2 and I3.
(c) Verify KCL:
(d) Find the total impedance of the circuit.

## Slide 14
14

## Slide 15
15

## Slide 16
16
Solution: Here, E = 50 V, f =1000 Hz and  =21000 =6280 rad/s
Fig. 16.48(a) shows the redrawing circuit of Fig. 16.48.

## Slide 17
17
Is
+

+

E
I1
I2
ZT
YT
Z1
Z2
Vab
b
a
Z3
Z4
V1
Fig. 16.48(a)
Is
+

+

E
ZT
YT
Z1
Z2
Vab
b
a
Z5
V1
Fig. 16.48(b)
Fig. 16.48(b) shows the redrawing circuit of Fig. 16.48(a).
Fig. 16.48(c) shows the redrawing circuit of Fig. 16.48(b).
Is
+

E
ZT
YT
Z1
Vab
b
a
Z6
Fig. 16.48(c)

## Slide 18
18
Fig. 16.48(d) shows the redrawing circuit of Fig. 16.48(c).
(c) Referring to Fig. 16.48(a) and Fig. 16.48(b), I1 and I2 are:
(d) Referring to Fig. 16.48(b) and Fig. 16.48(c), Vab and V1 are:
(e) Average power:
(f) Power Factor:
Lagging
Practice Book Remaining Examples
And
All Problems of Chapter 16
Is
+

E
ZT
YT
ZT
Fig. 16.48(d)

## Slide 19
19
Power Factor Correction (PFC)
Or
Power Factor Improvement (PFI)

## Slide 20
20
Source Side
Load Side
Transmission Line
It is observed from above equations that, low power factor of load means high apparent power. High apparent power means high current flows through the transmission line since the supply voltage E is constant. The effects of high current flow through the transmission line are as follows:
(1) Increased power losses (by a squared factor since Pxline=I2Rxline) in the transmission lines due to the resistance of the lines
(2) Required larger conductors, increasing the amount of copper needed for the system
(3) Voltage drop in Transmission line is increased as well as load terminal voltage is decreased
(4) Increased power bill
The required reactive power of load can be supplied by connecting capacitors (reactive elements) at the terminal of load. As a results high reactive power supplied by the source is not required as well as supply apparent power and current will be reduced.
The process of introducing reactive elements (capacitors) to bring the power factor closer to unity is called power-factor correction.

## Slide 21
21
Example 19.7 A 5 hp motor with a 0.6 lagging power factor and an efficiency of 92% is connected to a 208 V, 60 Hz supply.
  a. Establish the power triangle for the load.
  b. Determine the power-factor capacitor that must be placed in parallel
  with the load to raise the power factor to unity.
  c. Determine the change in supply current from the uncompensated to
  the compensated system.

## Slide 22
22
Practice Book Problems [Ch. 19] 16, 17 and 18

## Slide 23
Source Transformation

## Slide 24
24
EXAMPLE 16.3: Calculate Vx in the circuit of following figure using the method of source transformation.
Source Transformation
Solution: Let,
Redrawing circuit is shown in Fig. (a). Now, the series combination of voltage source and Z1 resistance convert to parallel circuit as follows:

## Slide 25
25
Redrawing circuit is shown in Fig. (b).
Redrawing circuit is shown in Fig. (c).
Converting the current source to a voltage source yields the circuit in Fig. (d), where,
Now, by using VDR, we have:
Practice Problem
Calculate Io in the circuit of following figure using the method of source transformation.

## Slide 26
Example Related to
Open Circuit and Short Circuit

## Slide 27
27
Example: For the following circuits, find voltage drop across the terminals a and b.
+

4 
20V0o
3 
a
b
4 
120V90o
3 
a
b
+


## Slide 28
28
Solution: Redraw the circuit by considering a and b terminals are open
+

10 
120V0o
8 
a
b
12 
Due to the open circuit no current flows through the 12  capacitive reactance, so the voltage drop across the a and b terminals is equal to the voltage drop across the 8  inductive reactance.
+

10 
120V0o
8 
a
b
12 
9 
Iab = 0 A
Example: Find the voltage drop across the terminals a and b. when the terminals are open.
a
b

## Slide 29
29
Solution: (a) Redraw the circuit by considering a and b terminals are open
+

10 
120V0o
8 
a
b
12 
+

10 
120V0o
8 
a
b
12 
9 
Example: Find the current passing through the terminals a and b. when the terminals are shorted.
Iab

## Slide 30
30
Example: Find the voltage drop across the terminals a and b. when the terminals are open.
+

10 
120V0o
8 
8 
a
b
Solution: Redraw the circuit by considering a and b terminals are open
+

10 
120V0o
8 
a
b
+

Vab

## Slide 31
31
Example: Find the current passing through the terminals a and b. when the terminals are shorted.
+

10 
120V0o
8 
8 
a
b
Solution: (a) Redraw the circuit by considering a and b terminals are open
+

10 
120V0o
8 
a
b
Iab
Due to the short circuit no current flows through the 8  capacitive reactance, so the current passes through the a and b terminals can be calculated as:
I8 = 0 A