## Slide 1
Network Theorems
Chapter 9 [DC]
Chapter 18 [AC]

## Slide 2
2
9.4 NORTON’S THEOREM

## Slide 3
3
Any two-terminal, linear bilateral network can be replaced by an equivalent circuit consisting of a current source and a parallel resistance/impedance, as shown in the following figure.
Statement of Norton’s Theorem
RN: Norton’s equivalent resistance
IN: Norton’s equivalent current
ZN: Norton’s equivalent impedance
IN: Norton’s equivalent current

## Slide 4
4
Conversion Between Thevenin and Norton’s Equivalent Circuit
ZTh = ZN
ETh = ZNIN
ZN=ZTh
IN
ETh
ZTh

## Slide 5
5
Steps to Apply Norton’s Theorem
Step 1: | Remove that portion of the network where the Thévenin equivalent circuit is found.
Step 2: | Mark the terminals of the remaining two-terminal network.
Step 3: | Calculate RN/ZN by first setting all sources to zero (voltage sources are replaced by short circuits, and current sources by open circuits) and then finding the resultant resistance/impedance between the two marked terminals. (If the internal resistance/impedance of the voltage and/or current sources is included in the original network, it must remain when the sources are set to zero.)
Step 4: | Calculate IN by first returning all sources to their original position and then finding the short-circuit current between the marked terminals. It is the same current that would be measured by an ammeter placed between the marked terminals.
Step 5: | Draw the Norton’s equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.
Step 6: | Do the remaining required calculation

## Slide 6
6
Example 9.11 [P364] Find the Norton equivalent circuit for the network in the shaded area in Fig. 9.61.
Step 1: Remove that portion of the network where the Norton equivalent circuit is found.
Step 2: Mark the terminals (such as a and b).
Step 3: Calculate RN by first setting all sources to zero and then finding the resultant resistance between the two marked terminals (a and b).
Step 4: Calculate IN by first returning all sources to their original position then finding the short-circuit current between the marked terminals. (a and b).
Step 5: Draw the Norton equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.

## Slide 7
7
Step 1 and Step 2:
Step 3: Calculate RN:
Step 4: Calculate IN: Since there are two sources Superposition theorem has to be applied.
Consider 7 V:

## Slide 8
8
Consider 8 A:
According to Superposition Theorem
Step 5: Draw the Norton equivalent circuit:

## Slide 9
9
Example 9.12 [P365] Using the Norton Theorem to terminal a and b of Fig. 9.67, find the value of current which is passing through 9  resistor.
Step 1: Remove that portion of the network where the Norton equivalent circuit is found.
Step 2: Mark the terminals (such as a and b).
Step 3: Calculate RN by first setting all sources to zero and then finding the resultant resistance between the two marked terminals (a and b).

## Slide 10
10
Step 4: Calculate IN by first returning all sources to their original position then finding the short-circuit current between the marked terminals. (a and b).
Step 5: Draw the Norton equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.

## Slide 11
11
Step 1 and Step 2:
RN
RN
Step 4: Calculate IN: Since there are two sources Superposition theorem has to be applied.
IN1
IN1
Consider 6 V:
Problem 23 [P392] Find the Norton equivalent circuit for the portions of the networks in Fig. 9.136(b) external to branch a-b.
Step 3: Calculate RN:

## Slide 12
12
Consider 2 V:
IN2
IN2
I4
I2
V2
Step 5: Draw the Norton equivalent circuit:
0.75 A
300 
IN
RN
2 
According to Superposition Theorem
Practice Book [Ch 9] Problem: 18 ~ 23

## Slide 13
13
NORTON’S THEOREM [AC]

## Slide 14
14

## Slide 15
15

## Slide 16
16

## Slide 17
17
Practice Book Remaining Examples
And
Problem 26- 29 [Ch. 18]

## Slide 18
18
9.5 MAXIMUM POWER TRANSFER THEOREM

## Slide 19
19
A load will receive/consume/absorb maximum power from a network when its resistance is exactly equal to the Thévenin resistance of the network applied to the load. That is:
Statement of Maximum Power Transfer Theorem
When RL = RTh, the maximum power delivered to the load can be determined by first finding the current:
Power can be calculated as follows:

## Slide 20
20
For the Norton equivalent circuit in Fig. 9.84, maximum power will be delivered to the load when
Power can be calculated as follows:

## Slide 21
21
Example 9.5.1 For the following network , find the value of RL for maximum power to RL and determine the maximum power to RL.
Step 1: Remove that portion of the network where the Thévenin equivalent circuit is found.
Step 2: Mark the terminals (such as a and b) of the remaining two-terminal network.
Step 3: Calculate RTh by first setting all sources to zero (voltage sources are replaced by short circuits, and current sources by open circuits) and then finding the resultant resistance between the two marked terminals (a and b).

## Slide 22
22
Step 4: Calculate ETh by first returning all sources to their original position and finding the open-circuit voltage between the marked terminals (a and b).
Step 5: Draw the Thévenin equivalent circuit with the portion of the circuit previously removed replaced between the terminals of the equivalent circuit.

## Slide 23
23
Step 1 and Step 2: for Thévenin equivalent circuit
Step 3: Calculate RTh
Example 9.5.2 For the following network , find the value of RL for maximum power to RL and determine the maximum power to RL.

## Slide 24
24
Step 4: Calculate ETh
Since there are two sources Superposition theorem has to be applied.
Consider E1 then E2 = 0 V (shorted).
Consider E2 then E1 = 0 V (shorted).
Step 5: Draw the Thévenin equivalent circuit

## Slide 25
25
Example 9.5.2
(a) Find the Norton equivalent circuit for the network external to the resistor R for the network in Fig. 9.127.
(b) find the value of R for maximum power to R and determine the maximum power to R.
Step 1: and Step 2 for the Norton equivalent circuit.
a
b
Step 3: Calculate RN
Step 4: Calculate IN
Step 5: Draw the Norton equivalent circuit:
Practice Book [Ch 9] Problem: 18 ~ 23